## Table 55
Back to Table of Content
Table 55 - Volume of treated effluent from wastewater treatment plants used for irrigation, 2011 - 2020
M3
Year | Irrigation
2011 | 3347765
2012 | 3991797
2013 | 3432175
2014 | 5144168
2015 | 4737923
2016 | 6095850
2017 | 6401568
2018 | 4527278
2019 | 1,891, 898
2020 1 | 640000
Source: Wastewater Management Authority
1 The volume of treated effluent for 2020 has decreased as the St Martin Wastewater Treatment Plant could not release treated effluent for irrigation due to faulty sand filters